## Sheet1
KC868-Hx Smart Controller Communication Protocol V20.0.1
NUMBER | FUNCTION | SEND |  | FEEDBACK | DESCRIPTION
1 | Turn ON Or Turn OFF Relay x | RELAY-SET-255,x,1 | （x is the number of Relay） | RELAY-SET-255,x,1,OK | Turn ON the Relay x successed
|  |  |  | RELAY-SET-255,x,1,ERROR | Turn ON the Relay x failed
|  | RELAY-SET-255,x,0 |  | RELAY-SET-255,x,0,OK | Turn OFF the Relay x successed
|  |  |  | RELAY-SET-255,x,0,ERROR | Turn OFF the Relay x failed
EXAMPLE |  | SEND |  | FEEDBACK
| Turn ON Relay 2 | RELAY-SET-255,2,1 | (x is Relay 2) | RELAY-SET-255,2,1,OK | Turn ON Relay 2 sucessed
| Turn OFF Relay 2 | RELAY-SET-255,2,0 |  | RELAY-SET-255,2,0,OK | Turn OFF Relay 2 successed
2 | Query the status of Relay x | RELAY-READ-255,x | （x is the number of Relay） | RELAY-READ-255,x,1,OK | The status of Relay x is ON
|  |  |  | RELAY-READ-255,x,0,OK | The status of Relay x is OFF
EXAMPLE |  | SEND |  | FEEDBACK
| Query the status of Relay 7 | RELAY-READ-255,7 | （x is Relay 7） | RELAY-READ-255,7,0,OK | The status of Relay 7 is OFF
3 | Query the status of Inputs | RELAY-GET_INPUT-255 |  | RELAY-GET_INPUT-255,x,OK | x is a Decimal Number The Maximum is 255(Binary is 11111111)
EXAMPLE |  | SEND |  | FEEDBACK
| Query the status of Inputs | RELAY-GET_INPUT-255 |  | RELAY-GET_INPUT-255,254,OK | 254:11111110------ Means input 1 was triggered
4 | Turn ON Or Turn OFF Multiplex Relays(32 bit) | RELAY-SET_ALL-255,D3,D2,D1,D0 | KC868-H32 Series | RELAY-SET_ALL-255,D3,D2,D1,D0,OK | Control successed
|  |  |  | RELAY-SET_ALL-255,D3,D2,D1,D0,ERROR | Control failed
EXAMPLE |  | SEND |  | FEEDBACK
| Turn ON Relay 30,18,10,1 and Turn OFF the rest | RELAY-SET_ALL-255,32,2,2,1 | KC868-H32 Series | RELAY-SET_ALL-255,32,2,2,1,OK | D3(32) D2(2) D1(2) D0(1) 00100000 00000010 00000010 00000001
| Turn OFF Relay 32,20,12,2 and Turn ON the rest | RELAY-SET_ALL-255,127,247,247,253 |  | RELAY-SET_ALL-255,127,247,247,253,OK | D3(127) D2(247) D1(247) D0(253) 011111111 11110111 11110111 11111101
5 | Turn ON Or Turn OFF Multiplex Relays(16 bit) | RELAY-SET_ALL-255,D1,D0 | KC868-H16 Series | RELAY-SET_ALL-255,D1,D0,OK | Control successed
|  |  |  | RELAY-SET_ALL-255,D1,D0,ERROR | Control failed
EXAMPLE |  | SEND |  | FEEDBACK
| Turn ON Relay 15,13,6,1 and Turn OFF the rest | RELAY-SET_ALL-255,80,33 | KC868-H16 Series | RELAY-SET_ALL-255,80,33,OK | D1(80) D0(33) 01010000 00100001
| Turn OFF Relay 14,10,4,2 and Turn ON the rest | RELAY-SET_ALL-255,221,245 |  | RELAY-SET_ALL-255,221,245,OK | D1(221) D0(245) 11011101 11110101
6 | Turn ON Or Turn OFF Multiplex Relays(8 bit) | RELAY-SET_ALL-255,D0 | KC868-H8/H4/H2Series | RELAY-SET_ALL-255,D0,OK | Control successed
|  |  |  | RELAY-SET_ALL-255,D0,ERROR | Control failed
EXAMPLE |  | SEND |  | FEEDBACK
| Turn ON Relay 2 and Turn OFF the rest | RELAY-SET_ALL-255,2 |  | RELAY-SET_ALL-255,2,OK | D0(2) 00000010
| Turn OFF Relay 5 and Turn ON the rest | RELAY-SET_ALL-255,239 |  | RELAY-SET_ALL-255,239,OK | D0(239) 11101111
D3 D2 D1 D0 is a Decimal number；When convert to Binary，1 means the Relay is ON，0 means the Relay is OFF； D3 from Relay32 to Relay26；D2 from Relay25 to Relay17； D1 from Relay16 to Relay9；D0 from Relay8 to Relay1；
7 | Read all Relays's status | RELAY-STATE-255 | KC868-H32 Series | RELAY-STATE-255,D3,D2,D1,D0,OK | Read successed
|  |  |  | RELAY-STATE-255,D3,D2,D1,D0,ERROR | Read failed
|  |  | KC868-H16Series | RELAY-STATE-255,D1,D0,OK | Read successed
|  |  |  | RELAY-STATE-255,D1,D0,ERROR | Read failed
|  |  | KC868-H8/H4/H2Series | RELAY-STATE-255,D0,OK | Read successed
|  |  |  | RELAY-STATE-255,D0,ERROR | Read failed
8 | Turn ON all Relays | RELAY-AON-255,1,1 |  | RELAY-AON-255,1,1,OK | Turn ON all Relays successed
9 | Turn OFF all Relays | RELAY-AOF-255,1,1 |  | RELAY-AOF-255,1,1,OK | Turn OFF all Relays successed
10 | Reversal Control Relay x | RELAY-KEY-255,x,1 | （x is the number of Relay） | RELAY-KEY-255,x,1,OK | Reversal Control Relay x successed
|  | SEND |  | FEEDBACK
EXAMPLE | Reversal Control Relay 4 | RELAY-KEY-255,4,1 | （x is relay 4) | RELAY-KEY-255,4,1,OK | Reversal Control Relay 4 successed